## Slide 1: Microscopy and spectroscopy with low-energy electrons
Sense Jan van der Molen – February 2017

## Slide 2: A new Type of Microscopy
M.P. Seah, W.A. Dench, Surface and Interface Analysis 1, 2-11 (1979)
eV-TEM
TEM
‘Universal curve’
Notes: TEM uses high energy electrons
Long mean free path
Damage
Low
We want to use this
And we want to do this using our existing infrastructure

## Slide 3: Start: Low-energy Electron Microscopy

## Slide 4: eV-TEM

## Slide 5: Transmission eV-TEM
Gold nano-particle clusters
3.1 eV
Notes: Already worked last time
Now improved normalization

## Slide 6: Resolution
3.1 eV

## Slide 7: Transmission and Reflection
6.3 eV

## Slide 8: Wanted in a detector
UHV compatibility!
Pixel detector for 15 kV electrons
High detector resolution < 50 microns
Large dynamic range (no background)
Fast read-out for ‘movies’: dynamic processes
Long lifetime

## Slide 9: Detector comparison
MCP
Medipix 2
Graphene on Ir (111). See: Ultramicroscopy 110 (2009) 33–35
factor 2 in detector resolution; better contrast

## Slide 10: Cathode-lens Microscopy in Leiden
potentiometry
lithography
ARRES
PLD of complex oxides

## Slide 11: Extra

## Slide 12: Spectroscopy
6.1 eV
3.1 eV

## Slide 13: Spectroscopy
Reflection
Double layer

## Slide 14: Spectroscopy
Reflection
Transmission
Double layer

## Slide 15: Spectroscopy
Reflection
Transmission
Triple layer

## Slide 16: Detection. At present: MCPs
J.L. Wiza, Nucl. Instr. Meth (1979)
Phosphor screen
CCD-camera
d=42 mm
Notes: 16
Medipix: CERN: elementaire dltjes: snelle camera. Onafhankelijk tellen en verwerken per Pixel. MHz telsnelheid.
Leiden in consortium Medipix3 via Abrahams => toegang tot technologie

## Slide 17: Disadvantages MCPs
Significant noise (dark current, readout CCD)
Limited dynamic range (by dark counts)
Effective spatial resolution > 140 m*
Limited life time
* T. Koshikawa (unpubl.)

## Slide 18: Medipix 2: hybrid pixel detector
Consortium: CERN, NIKHEF, Prague, Leiden (TEM), …
e-
Each pixel (55 m): signal processing and counting
Count rate > 100 kHz per pixel
Notes: 18
Medipix: CERN: elementaire dltjes: snelle camera. Onafhankelijk tellen en verwerken per Pixel. MHz telsnelheid.
Leiden in consortium Medipix3 via Abrahams => toegang tot technologie

## Slide 19: Hybrid pixel detector
Reverse bias V
Fully depleted
Each pixel has its own electronics

## Slide 20: Properties Medipix
Thresholds (low, high) for each pixel 
-Background-free detection
-Large dynamic range
Better detector resolution (by 140/55 x)
Aging negligible at LEEM energies
Continuous improvement (→ Medipix 3, consortium)
USB 1.0 read-out
But, electronic board: not UHV compatible

## Slide 21: But where to test? Go east!
Elmitec LEEM in Twente (Van Gastel, Poelsema)

## Slide 22: Putting Medipix in UHV
USB 1.0
Ruud van Egmond, Emiel Wiegers, Ewie de Kuyper

## Slide 23: PEEM: Graphene on Ir(111)
Medipix,100 s
FoV: 15.5 micron
MCP, 5 s, Field of View (FoV): 50 micron
F(C) < hn < F(Ir)

## Slide 24: Comparison LEEM images
Resolution 2 x better
Field of View: 3.1 micron

## Slide 25: Correcting for each pixel
Take image of ‘ homogeneous’ area
Correct pixel settings so image has one intensity
Apply these settings to PEEM images taken
Before After correction

## Slide 26: Correcting LEEM images
Before After correction

## Slide 27: Cloud vs. incoming electron energy
Higher energy => higher signal
Let us tune lower threshold