## Slide 1: FleX-Ray Project: Real-Time 3D Tomography
8th February 2017
A. Kostenko
Centrum Wiskunde & Informatica
Amsterdam
Notes: Introductie: onderzoeker bij het Centrum Wiskunde & Informatica; beeldreconstructie (denk aan: medische scanners)

## Slide 2: Computational Imaging
Computation of quantitative images from sensor data, based on rigorous mathematics
Examples:
  Medical scanning (CT, MRI, PET/SPECT)
  X-ray and electron tomography for industrial inspection
Interdisciplinary by nature
  Physics (understanding the measurements)
  Mathematics (relating measurements to images)
  Computing (creating large images fast)

## Slide 3: Current Projects
-45°- +45°
-60°- +60°
-75°- +75°
DART: -45°- +45°
Classical methods
Limited angle tomography:
HAADF STEM tomography, FEI Titan
Compressive sensing
Core-shell nanoparticle, individual atom columns are clearly visible
Distributed / GPU-based algorithms

## Slide 4: FleX-Ray Scanning Lab
Four partners: CWI, NIKHEF, XRE, ASI
Full geometric flexibility
State-of-the-art spectral X-ray detection
Unique capability for research on algorithms for 4D, spectral, and adaptive scanning

## Slide 5: Trends & Problems
Real time reconstruction during the scan
5D imaging! (space + spectral + time)
Multi-modal imaging
Multi-scale imaging
Adaptive scanning (geometry + detector + source)
Integration of scanner with computation hardware and fast algorithms

## Slide 6: Conventional 3D Tomography
Batch of scans
Go back and repeat the scan
Computational cluster
Visualize and analyse
Imaging Pipeline:

## Slide 7: Real-Time 3D Tomography
Continuous scanning
Feedback to the scanner:
Change geometry
Adjust resolution / SnR
Adjust energy thresholds
Computational cluster
(ASTRA)
Visualize on fly
Imaging Pipeline:

## Slide 8: Enabling technologies
Single photon detection
  using each photon
Spectral detection
  getting all information out of each photon
Real-time 3D reconstruction and adaptive acquisition
  targeting the photons to the most valuable regions
Limited data reconstruction
  augmenting photonic data with prior knowledge

## Slide 9: Thank you!