## Slide 1
Timed photon counter
ΔV
2 ΔV
3 ΔV
4 ΔV
5 ΔV
0
30 μm
Pitch
55 μm
Diameter
30 μm

## Slide 2
New Setup & Measurement method
Scanning Electron Microscope:
  Electron beam energy
  Measure beam current
  Acquire image (4.2 min)
Keithley 2450 Sourcemeters
  Measure Sample Current
  Measure Collector Current
Repeat for different beam energies
Process data
MgO [5 nm]
TiN [2.5 nm]

## Slide 3
Preliminary results: Electron yields

## Slide 4
ΔV | Sample [V] | Collector [V] | Electron energy [eV] | Landing energy [eV]
50 | -50 | 0 | 1200 | 1150
100 | -50 | +50 | 1200 | 1150
200 | -50 | +150 | 1200 | 1150
300 | -200 | +100 | 1200 | 1000
400 | -200 | +200 | 1200 | 1000
Preliminary results: Extracting field