## Sheet1
Description | TPX3 run | Duration | Triggers | V grid | V drift [V/cm] | V guard (central) | V guard cage | V cathode | x position | z position | Phi | Theta | Note | Mimosa file
test run (no beam) | 620 | 1m |  | -300 | -280 | -331 | -304 | -1420 |  |  |  |  | Failed because no triggers in spidr
test run (no beam) | 621 | 1m |  | -300 | -280 | -331 | -304 | -1420 |  |  |  |  | succesful
test run beam | 622 | 1m |  | -300 | -280 | -331 | -304 | -1420
longer run beam | 623 | 30m |  | -300 | -280 | -331 | -304 | -1420
Test equalisation | 624 | 10s |  | -300 | -280 | -331 | -304 | -1420
Test with extra masked pixels | 625 | 10s | 36936 | -300 | -280 | -331 | -304 | -1420
Test with extra masked pixels | 625 | 10s |  | -300 | -280 | -331 | -304 | -1420 |  |  |  |  | 6592k entries on F09
Test with extra masked pixels | 626 | 10s |  | -300 | -280 | -331 | -304 | -1420 |  |  |  |  | All pixels are succesfully masked!
longer run beam | 627 | 30m | 6788751 | -300 | -280 | -331 | -304 | -1420 |  | 143.8 |  |  | first long run
Start scanning in z until anode | 628 | 10s | 37734 | -300 | -280 | -331 | -304 | -1420 |  | 138 |  |  | 5382k entries on F09
| 629 | 10s | 37580 | -300 | -280 | -331 | -304 | -1420 |  | ~137 |  |  | 4265k entries on F09
Anode at around this z position | 630 | 10s | 36803 | -300 | -280 | -331 | -304 | -1420 |  | 136.8 |  |  | 3482k entries on F09
z-scan series for drift velocity | 631 | 10m | 2258774 | -330 | -140 | -345 | -340 | -890 |  | 147.4 |  |  | Changed grid to -330 | 20181004-205201_M26_TELESCOPE.h5
z-scan series for drift velocity | 632 | 10m | 2239004 | -330 | -400 | -374 | -331 | -1930 |  | 147.4 |  |  |  | 20181004-211713_M26_TELESCOPE.h5
| 633 | 10m | 2255836 | -330 | -140 | -345 | -340 | -890 |  | 150.8 |  |  |  | 20181004-213855_M26_TELESCOPE.h5
| 634 | 10m | 2258208 | -330 | -400 | -374 | -331 | -1930 |  | 150.8 |  |  |  | 20181004-215014_M26_TELESCOPE.h5
| 635 | 10m | 2260180 | -330 | -400 | -374 | -331 | -1930 |  | 155.2 |  |  |  | /20181004-220953_M26_TELESCOPE.h5
Failed | 636 |  |  | -330 | -140 | -345 | -340 | -890 |  | 155.2 |  |  | run failed
| 637 | 10m | 2259632 | -330 | -140 | -345 | -340 | -890 |  | 155.2 |  |  |  | /20181004-222532_M26_TELESCOPE.h5
| 638 | 10m | ? | -330 | -140 | -345 | -340 | -890 |  | 113.8 |  |  | Changed reference from 45.2 (other dim=35.2) to 90.0mm | /20181004-224108_M26_TELESCOPE.h5
| 639 | 10m | 2244245 | -330 | -400 | -374 | -331 | -1930 |  | 113.8 |  |  |  | 20181004-225158_M26_TELESCOPE.h5
| 640 | 10m |  | -330 | -400 | -374 | -331 | -1930 |  | 117.9 |  |  | beam was lost
took some data changing the threshold | [12 empty] | concluded that we can run at noise + 55cnts
back at old threshold, continue with scan | 641 | 10m | 2251993 | -330 | -400 | -374 | -331 | -1930 |  | 117.9 |  |  |  | 20181005-095959_M26_TELESCOPE.h5
| 642 | 10m | 2253337 | -330 | -140 | -345 | -340 | -890 |  | 117.9 |  |  |  | 20181005-101320_M26_TELESCOPE.h5
| 643 | 10m | 2252127 | -330 | -140 | -345 | -340 | -890 |  | 122.4 |  |  |  | 20181005-102616_M26_TELESCOPE.h5
| 644 | 10m | 2214502 | -330 | -400 | -374 | -331 | -1930 |  | 122.4 |  |  |  | 20181005-103759_M26_TELESCOPE.h5
| 645 | 10m | 1276013 | -330 | -400 | -374 | -331 | -1930 |  | 128.3 |  |  |  | /20181005-105735_M26_TELESCOPE.h5
| 646 | 10m | 2255108 | -330 | -140 | -345 | -340 | -890 |  | 128.3 |  |  |  | 20181005-110950_M26_TELESCOPE.h5
| 647 | 10m | 2259105 | -330 | -140 | -345 | -340 | -890 |  | 143.1 |  |  | Previous reference point again | 20181005-113327_M26_TELESCOPE.h5
| 648 | 10m | 2259252 | -330 | -400 | -374 | -331 | -1930 |  | 143.1 |  |  |  | 20181005-114451_M26_TELESCOPE.h5
Lower threshold 550e | 649 | 10m | 2257550 | -330 | -400 | -374 | -331 | -1930 | 0 | 143.1 |  |  | From now on run at lower threshold | 20181005-115615_M26_TELESCOPE.h5
guard +5, guarg cage -5 | 650 | 5m | 1130997 | -330 | -400 | -369 | -336 | -1930 | 0 | 143.1 |  |  |  | 20181005-121045_M26_TELESCOPE.h5
guard +10, guarg cage -10 | 651 | 5m | 1130906 | -330 | -400 | -364 | -341 | -1930 | 0 | 143.1 |  |  |  | 20181005-121702_M26_TELESCOPE.h5
Moved to +x 40s ~ 10 mm | 652 | 10m | 2260787 | -330 | -400 | -374 | -331 | -1930 | 10 | 143.1 |  |  |  | 20181005-122523_M26_TELESCOPE.h5
Moved to +x 40s ~ 10 mm, guard +5 ,gc -5 | 653 | 5m | 1094227 | -330 | -400 | -369 | -336 | -1930 | 10 | 143.1 |  |  |  | 20181005-123650_M26_TELESCOPE.h5
Moved to +x 40s ~ 10 mm, guard +10 ,gc -10 | 654 | 5m | ? | -330 | -400 | -364 | -341 | -1930 | 10 | 143.1 |  |  |  | 20181005-124236_M26_TELESCOPE.h5
Moved to -x 40s ~ -10 mm, | 655 | 10m | 2256856 | -330 | -400 | -374 | -331 | -1930 | -10 | 143.1 |  |  |  | 20181005-125035_M26_TELESCOPE.h5
Moved to -x 40s ~ -10 mm, guard +5 ,gc -5 | 656 | 5m | 1129163 | -330 | -400 | -369 | -336 | -1930 | -10 | 143.1 |  |  |  | 20181005-130326_M26_TELESCOPE.h5
Moved to -x 40s ~ -10 mm, guard +10 ,gc -10 | 657 | 5m | 1130449 | -330 | -400 | -364 | -341 | -1930 | -10 | 143.1 |  |  |  | 20181005-130943_M26_TELESCOPE.h5
New quad
run without beam | 658 | 1m |  | -300 | -300 | -333 | -303 | -1500 | 0
run with beam, no mask | 659 | 10s |  | -300 | -300 | -333 | -303 | -1500 | 0
run with beam, no mask | 660 | 30s |  | -300 | -300 | -333 | -303 | -1500 | 0
run no beam, after masking | 661 | 30s |  | -300 | -300 | -333 | -303 | -1500 | 0
| 662 | 3m | 675583 | -300 | -300 | -333 | -303 | -1500 | 0 |  |  |  | Testrun | 20181005-185630_M26_TELESCOPE.h5
Long run at 300 | 663 | 10m | 2261782 | -300 | -300 | -333 | -303 | -1500 | 0 |  |  |  |  | 20181005-191103_M26_TELESCOPE.h5
Long run at 330 | 664 | 10m | 172636 | -330 | -400 | -374 | -330 | -1930 | 0 |  |  |  | failed, because no beam? | 20181005-192801_M26_TELESCOPE.h5
Threshold 450 | 665 |  |  | -330 | -400 | -374 | -330 | -1930 |  |  |  |  | Failed, because no beam
Threshold 450 | 666 | 5m | 1135761 | -330 | -400 | -374 | -330 | -1930 |  |  |  |  | Threshold was 550 | 20181005-201734_M26_TELESCOPE.h5
Threshold 650 | 667 | 5m | 1134756 | -330 | -400 | -374 | -330 | -1930 | [5 empty] | 20181005-202429_M26_TELESCOPE.h5
Long run at 330, threshold 550 | 668 | 10m | 2266614 | -330 | -400 | -374 | -330 | -1930 | [5 empty] | 20181005-203345_M26_TELESCOPE.h5
Threshold 500 | 669 | 5m | 1135016 | -330 | -400 | -374 | -330 | -1930 | [5 empty] | 20181005-204622_M26_TELESCOPE.h5
Threshold 600 | 670 | 5m | 1130760 | -330 | -400 | -374 | -330 | -1930 | [5 empty] | 20181005-205910_M26_TELESCOPE.h5
beam not started yet | 671 | 10m |  | -330 | -400 | -374 | -330 | -1930 | 0
Moved to +x 40s ~ 10 mm | 672 | 10m | 2249718 | -330 | -400 | -374 | -330 | -1930 | 10 |  |  |  |  | 20181005-214622_M26_TELESCOPE.h5
Moved to +x 40s ~ 10 mm, guard +5 ,gc -5 | 673 | 5m | 1135686 | -330 | -400 | -369 | -334 | -1930 | 10 |  |  |  |  | 20181005-215910_M26_TELESCOPE.h5
Moved to +x 40s ~ 10 mm, guard +10 ,gc -10 | 674 | 5m | 1135503 | -330 | -400 | -364 | -340 | -1930 | 10 |  |  |  |  | 20181005-220546_M26_TELESCOPE.h5
run failed because did not change to 10m | 675
Moved to -x 40s ~ -10 mm, | 676 | 10m | 2265429 | -330 | -400 | -374 | -330 | -1930 | -10 |  |  |  |  | 20181005-221631_M26_TELESCOPE.h5
Moved to -x 40s ~ -10 mm, guard +5 ,gc -5 | 677 | 5m | 1136277 | -330 | -400 | -369 | -334 | -1930 | -10 |  |  |  |  | 20181005-222813_M26_TELESCOPE.h5
Moved to -x 40s ~ -10 mm, guard +10 ,gc -10 | 678 | 5m | 1134662 | -330 | -400 | -364 | -340 | -1930 | -10 |  |  |  |  | 20181005-223430_M26_TELESCOPE.h5
guard +5, guard cage -5 | 679 | 5m | 1100077 | -330 | -400 | -369 | -334 | -1930 | 0 |  |  |  |  | 20181005-224149_M26_TELESCOPE.h5
guard +10, guard cage -10 | 680 | 5m | 1128296 | -330 | -400 | -364 | -340 | -1930 | 0 |  |  |  |  | 20181005-224733_M26_TELESCOPE.h5