## Slide 1
New PMT model
New PMT model merged to master
Includes:
  4 ns peak in ToT-distribution
  New charge distribution:
    Underamplified contribution
    Threshold-band
Documentation written
Currently still different models in use
  E.g.: Gaussian ToT-fit for HV tuning
Communicate with calibration group to converge towards consistent PMT-response modeling collaboration-wide
--> Evaluate possibility to tune HV to gain instead of ToT-peak

## Slide 2
HV vs Gain

## Slide 3
HV vs Gain
Low statistics?
HV-scan runs are short (~ 10 min)
Contain only L1-data

## Slide 4
HV vs Gain

## Slide 5
HV vs QE
Naively expect no dependence on HV
But collection efficiency decreases as HV goes down!

## Slide 6
HV vs QE

## Slide 7
TODO
Redo evaluations with higher statistics, e.g. darkroom data
Evaluate single PMT gain estimation consistency
Set up fit model for HV as function of gain