## Slide 1: DESY Overview of test beam data external discs
B field = 0 T data stored on LEPCOL disc1 Runs 6900-6951
TPX3 data LINK0 LINK1 and TIMESTAMP 1383 GB
B field = 0.5 T data stored on LEPCOL disc3 Runs 6950-6991
TPX3 data LINK0 LINK1 and TIMESTAMP 1507 GB
B field = 1 T data stored on LEPCOL disc4 Runs 6990-7026
TPX3 data LINK0 LINK1 and TIMESTAMP 704 GB
Disc4 contains all LOGFILES (DCS, HV and Logbook) 0.8 GB
It has also all Silicon Telescope and TLU data LCTPC-PIX 12.6 GB
In total 3.6 TB of data

## Slide 2: DESY Overview of test beam data at Nikhef
/data/lepcol/testbeam_DESY_june21/
TPX3/Bfield0T/ B field = 0 T Runs 6900-6951
LINK0 LINK1 and TIMESTAMP 1387 GB
TPX3/Bfield0.5T/ B field = 0.5 T Runs 6950-6991
LINK0 LINK1 and TIMESTAMP 1504 GB
TPX3/Bfield1T/ B field = 1 T Runs 6990-7026
LINK0 LINK1 and TIMESTAMP 688 GB
TPX3/LOGFILES/ all LOGFILES (DCS, HV and Logbook) 1.6 GB
Telescope/ all Silicon Telescope and TLU data 12.6 GB
TPX3/software.tgz the software for the DAQ we were running
In total 3.6 TB of data

## Slide 3: DESY Overview of runs
Runs 6900 – 6904 Detector without drift field
B=0 runs 6905-6951 HV grid = 340 V (always) TPX3 threholds conc 0,1 = 60,60
Run | triggers | B field/ p | E drift | X stage | Z stage | rotation | 
6905 | 14k | 0 T 5 GeV | 280 | 1 | 1 | 0 | 32 chips
6906 | 7k | 0 T 6 GeV | 280 | 1 | 1 | 0 | 32 chips
6909 | 89k | 0 T 6 GeV | 280 | 1 | 2 | 0 | 32
6911 | 0.3k | 0 T 6 GeV | 280 | 1 | 2 | 0 | 32
6916 | 20k | 0 T 6 GeV | 280 | 1 | 1 | 0 | 32
6917 | 20k | 0 T 6 GeV | 280 | 1 | 2 | 0 | 32
6918 | 20k | 0 T 6 GeV | 280 | 1 | 3 | 0 | 32
6919 | 45k | 0 T 6 GeV | 280 | 0 | 0 | 0 | 32
6920 | 100k | 0 T 6 GeV | 280 | 2 | 0 | 0 | 32

## Slide 4: DESY Overview of runs
Telescope 6924-end runs at 4 sigma noise cut.
TPX3 Runs 6926-end thresholds conc 0,1 = 60,65
Run | triggers | B field/ p | E drift | X stage | Z stage | rotation | 
6921 | 2.6k | 0 T 6 GeV | 280 | 0 | 0 | 0 | 32
6922 | 17k | 0 T 6 GeV | 280 | 0 | 0 | 0 | 32
6923 | 0.7k | 0 T 6 GeV | 280 | 1 | 0 | 0 | 32
6924-27 | Test runs |  |  |  |  |  | 
6928 | 250k | 0 T 5 GeV | 280 | 1 | 0 | 0 | 32
6929 | problem |  |  |  |  |  | 
6930 | 265k | 0 T 5 GeV | 280 | 0 | 0 | 0 | 32
6931 | 200k | 0 T 5 GeV | 280 | 2 | 0 | 0 | 32
6932 | 117k | 0 T 5 GeV | 280 | 2 | 1 | 0 | 32
6933 | 33k | 0 T 5 GeV | 280 | 0 | 1 | 0 | 32

## Slide 5: DESY Overview of runs
Run | triggers | B field/ p | E drift | X stage | Z stage | rotation | 
6934 | 73k | 0 T 5 GeV | 280 | 0 | 2 | 0 | 32
6935 | 115k | 0 T 5 GeV | 280 | 2 | 2 | 0 | 32
6936 | 108k | 0 T 5 GeV | 280 | 2 | 3 | 0 | 32
6937 | 70k | 0 T 5 GeV | 280 | 0 | 3 | 0 | 32
6938 | 0.6k | 0 T 6 GeV | 280 | 1 | 1 | 10 | 31
6939 | 20k | 0 T 6 GeV | 280 | 1 | 1 | 10 | 32
6940 | 250k | 0 T 5 GeV | 280 | 1 | 1 | 10 | 32
6941-42 | No beam |  |  |  |  |  | 
6943 | 20k | 0 T 6 GeV | 280 | 1 | 1 | -10 | 32
6944 | 250k | 0 T 5 GeV | 280 | 1 | 1 | -10 | 32
6945 | 0.6k | 0 T 6 GeV | 280 | 1 | 1 | 10 | 31
6946 | 20k | 0 T 6 GeV | 280 | 1 | 1 | 10 | 32
6947 | 100k | 0 T 6 GeV | 280 | 1 | 1 | 10 | 32

## Slide 6: DESY Overview of runs
Run | triggers | B field/ p | E drift | X stage | Z stage | rotation | 
6948 | Si probl | 0 T 6 GeV | 130 | 1 | 1 | 0 | 32
6949 | 10k | 0 T 6 GeV | 130 | 1 | 1 | 0 | 32
6950 | 6k | 0 T 6 GeV | 130 | 1 | 1 | 0 | 32
6951 | 188k | 0 T 5 GeV | 130 | 1 | 1 | 0 | 32
======== | Start | 0.5 Tesla | Runs | ======= |  |  |