## Slide 1: Pixel TPC testbeam results
Yevgen Bilevych, Klaus Desch, Harry van der Graaf, Fred Hartjes, Jochen Kaminski, Peter Kluit, Naomi van der Kolk,
Cornelis Ligtenberg,
Gerhard Raven, and
Jan Timmermans
Lepton Collider 14 March 2022
8 Quad Module

## Slide 2
DESY testbeam Module Analysis
The jitter in the trigger signal
There is a clear issue with the z residuals (0.464 mm)-> time jitter ˜7.5 ns on the trigger signal (TLU)
From Uwe Kramer received a file with trigger times from the TLU with an expected precision of 1 nsec for run 6916
Problem is that the clocks TPX3 and TLU are not synchronized
We can try a work around by interpolating the times
  Done using three points: middle point not used. We interpolate linearly to the middle point. The time distance is 109-10 nsec
  The rms of the distribution is 10 nsec (next slide) ... but this is likely caused by the uncertainties of the interpolation: the distance 109-10 is huge wrt 1 nsec

## Slide 3
DESY testbeam Module Analysis

## Slide 4
DESY testbeam Module Analysis
Studies on the data
Quite a lot of data is lost because of the inefficiencies of the Telescope match of tracks. Therefore I decided to add statistics including the non matched data in case we have a clear TPX3 track.
Look deeper into the alignment I wondered wether it makes a difference if we run the alignment with or without multiple scattering; there is a possibility that misalignments are absorbed by the m.s. term in the General Broken Line fitter (on an event by event basis). By running the alignment with the m.s. of a 1 TeV particle this can be circumvented. New alignment files were made for the B=0 T case.

## Slide 5
DESY testbeam Module Analysis
Studies on B field data
Using the deformations from the B=0 T data; a realigned Telescope and the TPX3 alignment shifts and rotations of the B=0, the data were analyzed.
Only a slight shift to the Telescope-Module alignment is made
Results are shown on the next pages

## Slide 6
DESY testbeam Module Analysis
run 6969

## Slide 7
DESY testbeam Module Analysis
run 6969 B=1 T
To gain statistics the residuals are calculated w.r.t. fit Module
DT = 130 130 mm/cm
s0 xy = 35 mm 55/ 12 publ
DL = 270 220 mm/cm publ 226
s0 z = 160 mm 160 publ 135
Expected TPX3 tracking contribution z
(sTPX3A-C z = 93 mm)
s0 z = 47 mm
The drift distance has a per track uncertainty of 464 mm (trigger time)
ToT > 0.6 ms
B 1T

## Slide 8
DESY testbeam Module Analysis
run 6969
Mean residuals in xy and z in thee module plane
Note that NO chip realignments have been done.
Clearly one chip in the xy plane needs realignment.
The z residuals look pretty good

## Slide 9
DESY testbeam Module Analysis
run 6969
Some telescope studies
Perform SL fits to the clusters of the 3 first telescope
Three planes (1) and last (2)
Check of the residuals after a SL fit of Mimosa 1 and 4

## Slide 10
DESY testbeam Module Analysis
run 6969 B=1 T
Comparison of the Telescope track parameters and TP3 track in the middle of the module.
Expected tracking contribution telescope xy s xy = 16 mm
See MC study next slide
From the TPX3 track we expect a resolution of s xy 10 mm
The s xy of the observed core distribution is about 80 mm
In z the trigger jitter dominates

## Slide 11
DESY testbeam Module Analysis
MC studies
Made a compact MC to simulate the setup Mimosa+Module
Module
-2342.82 -1908.27 -1500.27 0 2880 4380.27 4788.64 5217.18 (pixels local x)
Mimosa resolution 4 mm; scattering angle Mimosa 0.23 mrad
scattering angle entrance/exit window (at 0 and 2880) 0.11 mrad
This gives in agreement with the B=0 results:
telescope extrapolations middle module 0.069 mm; angle 0.44 mrad
Two fits resolution in middle of the module:
B = 0 SL fit position 0.0096 mm; angle 0.052 mrad
B = 1 curved (quadratic) fit position 0.016 mm; angle 0.052 mrad