## Slide 1: Pixel TPC testbeam results
Yevgen Bilevych, Klaus Desch, Harry van der Graaf, Fred Hartjes, Jochen Kaminski, Peter Kluit, Naomi van der Kolk,
Cornelis Ligtenberg,
Gerhard Raven, and
Jan Timmermans
Lepton Collider 3 October 2022
8 Quad Module

## Slide 2
DESY testbeam higher stats
The aim is to collect enough data to perform a calibration and alignment of the whole module.
The code to match trigger times in TPX3 and TLU has been improved considerably.
The B=0 field runs 6916 6917 6934 6935
p (GeV) 6 6 5 5
(x,z) 1,1 1,2 0,2 2,2
In total 40k triggers all TPX3 tracks 13243 after telescope xy matching 6530 after xy and z match 6433

## Slide 3
DESY testbeam higher stats
The highest precision can be obtained by calibrating with telescope tracks.
In the xy plane the residuals in xy wrt the telescope are used.
For the drift the coordinate the z hits are selected with a fit through the TPX3 hits; this fit absorbs the time jitter of 25 nsec that is present. z hits/ drift times are time slewing corrected.
The residual of the TPX3 z hit wrt telescope track is unbiased and is used for the t0 calibrations
The drift resolution can only be measured using the residual is wrt the TPX3 only fit

## Slide 4
DESY higher stats B=0

## Slide 5
DESY higher stats B=0

## Slide 6
DESY higher stats B=0

## Slide 7
DESY higher stats B=0

## Slide 8
DESY higher stats B=0
Below 4 mm the grid affects the results

## Slide 9
DESY higher stats B=0
Need more statistics?
and better track cleaning?

## Slide 10
DESY testbeam higher stats
Statistics for alignment and calibrations.
Relevant for the error in the TPX3 alignment is not the number of TPX3 hits per chip, but the number of tracks per chip and the tightness of matching cuts between Telescope and TPX3 tracks.
This is in xy typically 0.3 mm and in z due to the common time off set of all TPX3 hits (25 nsec jitter) typically 3 mm.
For x=0 and 2 we have ˜1000 tracks so this gives 10 mm xy and 100 mm z stat precision per chip.
This means it is mandatory for a stable alignment and calibration procedure to use higher statistics in particular for z. In z the could also be a bais in the z=0 data set (scattering of the grid at low z values may cause a bias in t0)

## Slide 11
DESY testbeam higher stats
There is no issue anymore: time matching has been improved.
Statistics is sufficient and selection efficiencies high.
We can analyse all types of data p = 5 and 6 GeV without and with B field.
We can collect more data and calibrate and align the detector in detail
First high stats plots look already pretty OK