## Slide 1: ILC Highlight Nikhef Octopuce grid pix
Chip (1x1) 14 x 14 mm
Octopuce (2x4) 28 x 56
Module (100)

## Slide 2
Testbeam DESY performance
Module 1 is in great shape
320 V and 1 T
Resolution 100 μm per hit. (ExB) Deformations at the edges of the board are under control and systematics per chip less than 20 μm. This is good enough for a TPC. We need now to build a 100 chip module.
all
100 μm