## Slide 1: Seismic Isolation for ET-LF
(or why seismic isolation is hard)
Conor Mow-Lowry
…On behalf of the OmniSens team and many others

## Slide 2: ET-LF isolation at CDR

## Slide 3
17m tall!
No seismic platform
Needs substantial work – design, interfaces, and requirements all uncertain

## Slide 4
Factor of 1010!

## Slide 6: How do we keep something still?
Some examples…
  Seismometers (funny that we isolate them)
  Heavy machinery
  Cars (or trains etc)
  Optical lab experiments
 Common-mode rejection
(big slabs of granite)

## Slide 7
Images: LIGO Laboratory and Google Maps

## Slide 8: GW detectors are big
The ground is not rigid enough!
Granite might have been stiff enough for LIGO… but next gen detectors will be longer.

## Slide 9: Time-scale conspiracy #1
Detectors are ~3-4km and wave-speed means seismic waves at f>0.1Hz are differential…
And the dominant RMS comes at ~0.1-0.3Hz.

## Slide 10
K2
K1
K1
K2
K3
K3
L1
L2
L3
L4
0.5M
M
M
0.5M
Prototype quadruple-pendulum for Advanced LIGO
Test Mass
M = 40 kg
≈2 m
K4
Credit: Brett Shapiro
K4
So we need an isolator

## Slide 11
Images: LIGO Laboratory

## Slide 12
steep roll off!
Credit: Brett Shapiro
1/f8
GWs this way
-140db = 10-140/20
= 10-7
We need more
Isolation at 10Hz
Cascaded resonators produce a steep filter.
We needed 1010 at 10Hz in LIGO.
Response of the ‘Quadruple Pendulum’

## Slide 13: Time-scale conspiracy #2
Detectors are ~3-4km and wave-speed means seismic waves at f>0.1Hz are differential…
The dominant RMS comes at ~0.1-0.3Hz…
And the passive suspensions have resonances at ~0.5Hz.

## Slide 14
isolator

## Slide 15
Matichard et al 2015 Class. Quantum Grav. 32 185003
https://doi.org/10.1088/0264-9381/32/18/185003

## Slide 16
Images: LIGO Laboratory

## Slide 17
Tilt versus Horizontal displacement
Conventional seismometers and tiltmeters cannot differentiate between horizontal displacement and ground tilt.
x  ax
x  g
Tilt response to horizontal displacement response for all seismometers = -
The tilt of the ground dominates our measurements at…?

## Slide 18: Estimating true tilt and translation (LNGS)
Extrapolating tilt
Estimating translation
50mHz

## Slide 19: Time-scale conspiracy #3
Detectors are ~3-4km and wave-speed means seismic waves at f>0.1Hz are differential…
The dominant RMS comes at ~0.1-0.3Hz.
Passive suspensions have resonances at ~0.5Hz…
And ground tilt ruins isolation at ~0.05Hz.

## Slide 20: The bridge from 10mHz to 10Hz
Low-frequency noise
and tilt-to-length coupling
m-Seismic motion, Principle ground RMS
Principle suspension modes and ‘Auxilliary’ control signals
Sensitive region for GW detectors

## Slide 21: Blending filters

## Slide 22: Conclusion: the axioms of isolation
GW Observatories require extreme levels of seismic isolation in-band, 3+ Hz for ET
Both active and passive isolation are required
Active isolation is most critical below 0.5Hz
Inertial sensors and passive isolators are affected by tilt
We need better inertial rotation sensors.
Seismic isolation is far from solved for ET-LF.

## Slide 23: … but isn’t ET’s underground site awesome?

## Slide 24
Comparison with LIGO Hanford site
Acceleration spectrum (m/s^2/sqrt(Hz))
Frequency (Hz)

## Slide 25: … but isn’t ET’s underground site awesome?
No… not at the frequencies where we struggle the most

## Slide 27: ET-LF isolation requirements
How can we compute requirements when current instruments fail at low-f and our needs are a million times harder?
Workshop in Amsterdam, Tuesday 18 April
Wiki page: https://wiki.nikhef.nl/gravwav/ET-LF_requirements_workshop
Git repo: https://gitlab.nikhef.nl/gw/et-lf-requirements-workshop

## Slide 28: First target: actuation noise
There is a simple recipe for actuation noise. Using Virgo numbers:
Ruggi, ET-ISB workshop
actuation noise does not seem less ‘fundamental’ then thermal noise
This is the focus for OmniSens
Requires payload
and controls models

## Slide 29
System model
LNGS input spectra
OmniSens isolation
2 Stage payload
3 SAT options:
  9m Virgo
  12m ET
  17m ET-LF
29
19
of
GWADW 2023-05-24
N. A. Holland, et. al.
ET-0198A-23

## Slide 30
SAT TF – 17m ET-LF Baseline
30
19
of
GWADW 2023-05-24
N. A. Holland, et. al.
ET-0198A-23

## Slide 31
Pulling it all together – ET-LF
31
19
of
GWADW 2023-05-24
N. A. Holland, et. al.
ET-LF sensitivity
Total actuation noise
8⨉
too high
ET-0198A-23
Actuation noise is 8 times higher than the design curve
With a safety margin and realistic statistics, this more like 300x too large.
These models are already aggressive and optimistic.

## Slide 32: Where do we go from here?
We projected design solutions into noise, we need to reflect them back into design requirements
Low-frequency motion in real underground laboratories requires further study (different locations, history, statistics)
We need more detailed mechanical models that more accurately reflect real motion
It is clear we need better instrumentation and controls distributed through the

## Slide 34: ET requirements?

## Slide 35: ET Pathfinder