## Slide 1: Octopuce Field Distortions
Peter Kluit, Jan Timmermans
Lepton Collider meeting 12 July 2016

## Slide 2
Introduction
Compare the B = 1 data with the B = 0 data
Look for distortions between the chips (not at the edge of the Octopuce)

## Slide 3: Chip 3 B = 1 T 300 V

## Slide 4: Chip 3 B = 0 T 300 V
Explanation: edge effects not taken into account
Note larger uncerainties (scales)

## Slide 5: Chip 4 B = 1 T 300 V

## Slide 6: Chip 4 B = 0 T 300 V
Observed deformation and shift vs x probably edge effect

## Slide 7: Chip 5 B = 1 T 300 V
Deformation at low x -0.2 mm

## Slide 8: Chip 5 B = 0 T 300 V
Deformation at low x -0.6 mm

## Slide 9: Chip 6 B = 1 T 300 V

## Slide 10: Chip 6 B = 0 T 300 V

## Slide 11: Edge effects 1 T 300 V
Low x pixel
3,4,6 in between chips
NB chip 5 has deformations
See a small deviation -100 microns x 8-9
At high x
See in chip 3 and 5
Nothing seen in y pixel