## Slide 1: E-field compensation with QuadFocus
Wouter Bos
Meeting 21 november 2016

## Slide 2
Overview
QuadFocus
Grid scan
Mapping the Grid
Mapping beams

## Slide 3
QuadFocus
4 timepix-1 chips
Upper part homogeneous E-field
Lower part has central PCBs for controlled focused E-field
(Design picture)

## Slide 4
QuadFocus
3D simulation
Upper part homogeneous E-field
Lower part controlled focused E-field
3D-field schematic

## Slide 5
E-field deformations
Single chip electron depositions in 1[mm] grid
Height drift due to longer path
No dead spot between chips

## Slide 6
BiCubic interpolation
Cubic interpolation in 2 dimensions
2 functions: F(x,y)->x’ and G(x,y)->y’
4 1D base functions 4 of the 16 2D base functions
Weighted addition of 16 base functions gives smooth surface
Datapoints and smoothness provide conditions

## Slide 7
E-field deformations
1mm grid scan
Transforming deformed grid gives uniform grid
Improvement for spots near the edge
Original Grid Transformed Grid

## Slide 8
E-field deformations
Transformation of gaussians?
Original Gaussian Transformed Gaussian

## Slide 9
E-field deformations
Transformation of gaussians?
Original Gaussian Transformed Gaussian

## Slide 10
E-field deformations
Curvature?
Laser vs Average X Laser vs Average Y
Laser Position Y
Laser Position Y

## Slide 11
E-field deformations
Curvature?
Laser vs Curvature X Laser vs curvature Y
Laser Position Y
Laser Position Y
Max Curvature = -.25
Normal gaussian width < .1[mm]
Offset < 2.5 [um]

## Slide 12
E-field deformations
Tracks on multiple chips are straightened
Resulting angle 45 degrees as expected
Needs distance between chips
Original Track Transformed Track

## Slide 13
E-field deformations
Tracks on multiple chips are straightened
Resulting angle 45 degrees as expected
Needs distance between chips
Original Track Transformed Track

## Slide 14: E-field compensation with QuadFocus
Wouter Bos
Meeting 21 november 2016