## Slide 1: PMT simulation
M. de Jong

## Slide 2: Introduction (1/2)
PMT response
  each photon¶ is converted to a photo-electron according measured transit time distribution
  all photo-electrons are subsequently time sorted
PMT signal
  photo-electrons within rise time of amplifier are merged
  amplitude of analogue signal is determined according known gain and gain spread
¶ The QE of the PMT actually is included in km3, KM3Sim, JSirene, etc.

## Slide 3: Introduction (2/2)
PMT hit
  hit time & time over threshold requires designated model
PMT hits
  overlapping PMT hits are merged
    leading edge is set to earliest leading edge of all hits
    time over threshold is set to difference between latest trailing edge and earliest leading edge of all hits

## Slide 4: Transit time (1/1)
see <Jpp>/examples/JDetector/JTTS.sh
data
smoothed

## Slide 5: Time over threshold (1/2)
time
threshold
time over threshold
gain
spread
time over threshold = 0
charge [V]

## Slide 6: Time over threshold (2/2)
charge
time over threshold
1
specification

## Slide 7: Time slewing (1/1)
charge [V]
threshold
Gaussian
time

## Slide 8: Time slewing (2/2)
time over threshold
see e.g. presentation
Karel M.

## Slide 9: PMT parameters (1/2)
Model constraints:
  threshold
  time over threshold peak
  time over threshold width

## Slide 10: PMT parameters (2/2)
threshold 0.3 npe
gain spread 0.3 unit
rise time 10 ns
18 ns
15 ns

## Slide 11: data – Monte Carlo (1/2)
gain spread
gain spread
threshold

## Slide 12: data – Monte Carlo (2/2)
time
slewing

## Slide 13: Time slewing correction (1/2)
data
fit

## Slide 14: Time slewing correction (2/2)
soff = 3.3 ns
son = 3.0 ns

## Slide 15: Status & Outlook
Simple two-parameter model for simulation of PMT hit
  describes reasonably well time over threshold
  describes reasonable well time slewing
Time slewing
  correction based on in situ K40 data
    improves time resolution by 10%