# Workshop Minutes; Brussels/FWO, July 13, 2026

Present: Fred Nguyen (FN), Soumen Koley (SK), Hadrien Michel (HM), Geert Degrande (GD), Stijn Francois (SF), Luca D’Onofrio (LDO), Pablo Barneo (PB), Valentin Tempel (VT), Patrick Kersten (PK), Stefan Danilishin (SD), Tjonnie Li (TL), Giorgia Kuci (GK), Stan Bentvelsen (SB, writeup), Johannes Erdmann (JE), Jonathan Kuckert (JK)

## Context

- EMR-PO aims to reach a "continue-unless" decision on the seismic noise levels at the triangle vertex locations around September. The data analysis required for this decision will be provided by this working group.

- The Site Selection Criteria for the technical site evaluation have been changed from Prescriptive Criteria to Bidder-Driven Justification.

  - For several noise sources, providing reliable estimates is difficult, if not impossible. Therefore, the group will no longer define fixed noise thresholds. Instead, bidders must demonstrate how their proposed site can achieve the Einstein Telescope (ET) sensitivity goals by describing:

    - the expected pre-mitigation noise levels;

    - the proposed mitigation measures; and

    - the associated costs and risks.

- All ongoing activities contribute to the Site Characteristics chapter of the Bid Book. The current objective is to complete this work by the end of 2026, although additional time may be required for some studies.

## Practicalities

- The group aims to hold an in-person noise workshop on a monthly basis.

- The next workshop will take place on Wednesday, 26 August, from 14:00 to 18:00, in Maastricht.

## Main Discussion Points

a) Significant progress is being made on the development of the Integrated Noise Model (INM), which incorporates the EMR Geology Model (EGM) within Salvus. Newtonian Noise (NN) will be calculated as a post-processing step.

b) Development of the EGM is also progressing well. The first version still needs to be completed by incorporating the rock properties. The current cavern geometry is based on Plan A and will require further refinement.

c) Mondaic continues to make good progress on the software development. Meshing is nearly complete, although challenges remain for the cavern geometry. The goal is to perform a first simulation by the end of September to reproduce the measured data. In parallel, a clear assessment of the required CPU/GPU resources is needed, together with commitments for providing these computational resources.

d) Analysis of the sensor data, including comparisons with the other candidate sites, is progressing. Additional personnel are required to fully exploit this topic.

e) The seismic campaign was highly successful. The acquired data still need to be collected, processed, and analysed.

f) Transient noise generated by passing trains requires dedicated attention, as the Bid Book must demonstrate that this noise source is adequately understood and controlled. Dedicated sensors should be installed along the railway to monitor train passages. It remains to be decided whether train noise should be incorporated into the INM using a simplified quasi-static approximation, in which the train load is applied instantaneously to the track, or whether it should instead be treated in a separate dedicated study and publication. Further discussion is required.

g) An effective mitigation team has now been established. The main challenge is to integrate the mitigation studies with the INM. Particular attention should be given to optimizing mitigation performance in the NN frequency band.

## Action Items for the Next Workshop, August 26:

- SD & VT: Prepare a written page describing the mitigation required for EMR to achieve the ET design sensitivity (ETD). Starting from the seismic noise levels measured at TERZ and using Harms' analytical formulation for Newtonian Noise, estimate the required mitigation as a function of frequency in the 2.5–8 Hz range.

- LD'O: Develop a strategy for addressing magnetic noise at EMR. Surface measurements are available (via HM), while subsurface measurements at the triangle vertices are planned for Q3 2026. Prepare a measurement and analysis plan in collaboration with Michael Kiehn.

- ULiège: Monitor progress on the EMR Geology Model (EGM). E=mc² is responsible for implementing the rock properties so that a complete first version of the model becomes available for the Integrated Noise Model.

- HM & Dirk Becker: Analyse the scan-line data to further characterize the seismic noise. Present the first results together with a proposal for a second measurement campaign.

- HM: Provide an update on the Mondaic activities. The objective is to complete a first simulation by the end of September to reproduce the measured data using the EGM. The initial simulations will be performed both with and without transient train noise included. Newtonian Noise will be calculated automatically as part of the workflow.

- SB, HM & Michael Kiehn: Finalize the facility infrastructure geometry in the EGM by the end of July. The current implementation is based on Plan A, which still presents issues related to the maintenance tunnels. Evaluate a transition to Plan B or Plan C for the cavern geometry.

- FG: Prepare an inventory of the CPU/GPU requirements for the Integrated Noise Model and identify the parties responsible for securing the necessary computational resources.

- GK & SF: Connect ANNA to the Mondaic mesh and prepare a demonstration showing how this can be implemented, for example using a smaller geological volume surrounding one of the triangle vertices.

- HM: Establish regular coordination meetings with Mondaic and include SF in these meetings.

- GD & SB: Investigate the installation of two sensors along the railway to unambiguously identify passing trains. This will require coordination with Infrabel.

- LD'O & VT: Continue the analysis of all sensor data collected at EMR. Coordinate additional personnel through TL. VT will specifically investigate spatial correlations of seismic noise in the Newtonian Noise frequency band.

- LDO: Develop a plan for the analysis and characterization of transient noise sources.

- JE & JK: Show the mitigation factors as function of the number of boreholes (cost drivers). Also optimize the mitigation for the 2-4 Hz band.